SHRAVYA : A Cognitive Ear Worn Assistant with	on-board AI Companion

USER MANUAL :- Complete First-Time User Setup Guide
Index
OVERVIEW	PAGE NO. 2
SYSTEM ARCHITECTURE	PAGE NO. 3-4
DATA FLOW	PAGE NO. 5
PRE-REQUISITIES	PAGE NO. 5-6
n8n WORKFLOW SETUP	PAGE NO. 6-12
HARDWARE INTEGRATION	PAGE NO. 13
FRONTEND INTERFACE	PAGE NO. 14-16
TESTING & VALIDATION	PAGE NO. 16-17
PERFORMANCE VALIDATION	PAGE NO. 17
DEBUG MODE	PAGE NO. 18
SECURITY CONSIDERATION	PAGE NO. 19
CONCLUSION	PAGE NO. 20

OVERVIEW

SHRAVYA (She Hears, Responds and Attends to Your Awareness) is a cognitive ear-worn AI assistant that combines real-time EEG processing with intelligent cloud-based AI agents. The system consists of:
- Hardware: Renesas EK-RA8D1 MCU with ADS1263 ADC for EEG acquisition
- Firmware: μT-Kernel 3.0 RTOS with real-time signal processing and AI inference
- Cloud/Self-Hosted Platform: N8N workflow automation with multi-agent AI system
- Frontend: Web-based interface for monitoring and interaction
- Database: MongoDB for EEG data storage.
Key Features
- Real-time EEG signal processing (2000 SPS, 32-bit ADC)
- On-chip neural network inference (sub-100ms latency)
- 6 cognitive state classification (Focus, Stress, Anxiety, Fatigue, Calm, Flow)
- Multi-modal feedback (haptic, voice, visual)
- Voice command processing with natural language understanding
- Cloud analytics and trend analysis

SYSTEM ARCHITECTURE

1) The SHRAVYA system follows a multi-tier architecture :-

2) Component Level Flowchart :-
3) High Level System Overview :-

DATA FLOW

1. EEG Acquisition: Hardware captures brain signals → Signal processing → AI classification
2. Data Transmission: MCU sends JSON payload to N8N webhook every 30 seconds
3. Cloud Processing: N8N routes data to appropriate AI agent based on content and context
4. Response Generation: AI agent processes data → Generates response → Delivers via TTS/haptic
5. Storage: Session data stored in MongoDB.

PRE-REQUISITIES

1) Hardware Requirements
- Renesas EK-RA8D1 Evaluation Kit (ARM Cortex-M85 @ 480MHz)
- ADS1263 32-bit ADC for EEG signal acquisition
- Dry EEG electrodes (2 channels minimum) and ECG/EEG Reference Electrode
- Vibration motors (2x) for haptic feedback
- Ethernet connection for communication to n8n webhook
- ADS623 Instrumentation Amplifier
- Custom Breadboard Circuit with all the connections (check the Hardware Documentation)

2) Software Requirements
- Docker Desktop v4.40 or higher (Use the latest for the best results).
- n8n (self-hosted)
- MongoDB (Atlas or local installation)
- Renesas e² studio IDE
- FSP (Flexible Software Package) v5.1.0 or later
- μT-Kernel 3.0 RTOS
3) Network Requirements
- Local network access (Wi-Fi or Ethernet)
- Internet connectivity for API services
- Port 5678 accessible for N8N webhooks

n8n WORKFLOW SETUP

Step 1: Install Docker Desktop
Go to the link https://docs.docker.com/engine/install/ and install according to your OS (Ubuntu, Debian, Windows,etc).
Step 2 : Installing n8n
Open the terminal in Docker Desktop (bottom right)
- Run the command : docker pull docker.n8n.io/n8nio/n8n:latest
- The image that is created will have an ID, copy it.
- Now run this command:
  docker run -d \
  --name <your_wish_name>
  -p 5678:5678
  -e N8N_BASIC_AUTH_ACTIVE=true\
  -v ~/n8n-data:/home/node/.n8n\
  --restart unless -stopped
  <paste_the_copied_image_id>
[NOTE : The command sometimes might not run due to indentation errors or so, please refine	those errors accordingly. The command remains the same.]
1. Create an account via your G-mail ID.
   Whenever n8n is locally hosted, the user gets an option to activate a liscence key. As soon as the account is created the user shall get an e-mail from n8n regarding the same. The user has to activate the license key via the email to access almost all functionalities of the n8n software.
  Step 3 : Importing the workflow
  1. Get the .json file from the link https://github.com/Rishi8520/S.H.R.A.V.Y.A/tree/main/n8n-server/n8n_Workflows
  Step 4 : Configure API Keys
  - OpenRouter API (AI Language Model)
1. Sign Up
  1. Go to https://openrouter.ai
  2. Create account and verify email
2. Get API Key
  1. Go to Keys section
  2. Create new API key
  3. Copy key for N8N configuration
3. Configure in N8N
  1. Find "OpenRouter Chat Model" node
  2. Add credentials with your API key
  3. Model: mistralai/mistral-small-2.3-24b-instruct:free or any other free model
Deepgram API (Speech-to-Text)
1. Create Account
  1. Go to https://deepgram.com
  2. Sign up for developer account
  3. Get $200 free credits
2. Generate API Key
  1. Go to API Keys in dashboard
  2. Create new key with speech-to-text permissions
  3. Copy key
3. Configure in N8N
  1. Find "SHRAVYA STT" HTTP Request node
  2. Update Authorization header: Token YOUR_DEEPGRAM_KEY
  3. URL: https://api.deepgram.com/v1/listen

Unreal Speech API (Text-to-Speech)
1. Sign Up
  1. Go to https://unrealspeech.com
  2. Create account (500,000 free characters)
2. Get API Key
  1. Go to API section in dashboard
  2. Copy your API key
3. Configure in N8N
  1. Find "SHRAVYA Voice Synthesis" HTTP Request node
  2. Update Authorization header: Bearer YOUR_UNREAL_SPEECH_KEY
  3. URL: https://api.v8.unrealspeech.com/stream

Gmail API (For Emergency Contacts)
1) Go to Google Cloud Console → APIs & Services
2) Search for Gmail in the search bar under the same section ie APIs & Services.
3) Click on the “Gmail API” and enable it
4) Set up a Oauth 2.0 Client ID :
  a) In the Enabled APIs & Services page there would be an option “Gmail API”, click on that.
  b) Choose the option “Credentials” from the left sidebar.
  c) Click on “+ Create Credential” → Choose Auth Client ID → Application Type = Web Application → Name it (according to user’s wish) → Authorised redirect URIs paste this: http://localhost:5678/rest/oauth2-credential/callback → Click on Create
[NOTE – Please copy the Client ID and Client Secret and keep for your reference to avoid any further inconveniences]
  d) Click on Audience in the left sidebar. Under the Test Users → Add Users → Add the email/Gmail Id which shall be the emergency contact and save it. [NOTE – The same id shall be mentioned in the n8n Gmail node]
  e) Now in n8n create a credential for Gmail Account. You can do this outside the workflow or in the workflow itself. Fields to be entered:
    - OAuth Redirect URL : http://localhost:5678/rest/oauth2-credential/callback
    - Client ID : Copy paste the same client id that you just created in the previous step. This would be there in the OAuth 2.0 Client ID → Your created Web Application ID (click it) → Under the “Additional Information” section the client id must be mentioned.
    - Client Secret → Copy and Paste the previously copied Client Secret in here.
    - Connect your account by signing in and provide the permissions “Read Compose and Send Emails from your Gmail account” & “View you email messages when you interact with the add-on”.
[NOTE – If a pop-up appears mentioning that Google hasn’t verified this app, please do not worry, your system and the google account shall remain safe. Proceed by choosing “Continue”.]
    - The Connection is Successful!
- MongoDB
1) Atlas Administration API Keys
Purpose: Manage clusters, users, and database configuration programmatically
### Step 1: Access API Keys Section
1. Login to MongoDB Atlas: https://cloud.mongodb.com
2. Select your organization and create a cluster
3. Click on "Access Manager" in left sidebar
4. Navigate to "API Keys" tab
### Step 2: Create Organization API Key
     1. Click "Create API Key"
     2. Enter Description: "SHRAVYA Project API Access"
     3. Select Permissions:
        - Organization Project Creator (for full access)
        - Organization Read Only (for monitoring)
       - Organization Owner (for complete control)
     4. Click "Next"
## Step 3: Configure Access List
     1. Add IP Addresses that can use this API key:
        - Your development machine IP
        - Server IP where N8N runs
        - 0.0.0.0/0 (for testing - NOT recommended for production)
     2. Click "Done"
### Step 4: Copy Credentials
     Public Key: [COPY AND SAVE - shown only once]
     Private Key: [COPY AND SAVE - shown only once]

Step 5 – Enter the details into n8n mongoDB credential
- Configuration type – Connection String
- Connection String – Retrieval steps: MongoDB Atlas Dashboard → Clusters Tab → Your created cluster → Connect → Connect to your application, under which select “Drivers”→ Leave everything as it is and copy the connection string under the “Add your connection string into your application code” → Press “Done”.
- Database – Add your database name that you created in mongoDB.
API Configuration Summary
Service	Purpose	Free Tier	Configuration Node
OpenRouter	AI Language Model	Yes (limited)	OpenRouter Chat Model
Deepgram	Speech-to-Text	$200 credits	SHRAVYA STT
Unreal Speech	Text-to-Speech	500K characters	SHRAVYA Voice Synthesis
MongoDB	EEG Data Storage	512MB free	Store EEG Session
Gmail	For Emergency Contacta	Yes	Send a message

HARDWARE INTEGRATION

1) Firmware Flash Process
1. Setup Development Environment
  1. Install Renesas e² studio
  2. Import SHRAVYA project
  3. Configure FSP packages
2. Update Network Settings (Optional/Not Required)
// In communicationN8N.c, update these values for your network:
#define SHRAVYA_IP_ADDR_0 192 // Your MCU IP
#define SHRAVYA_IP_ADDR_1 168
#define SHRAVYA_IP_ADDR_2 1
#define SHRAVYA_IP_ADDR_3 200
#define PC_IP_ADDR_0 192 // Your N8N server IP
#define PC_IP_ADDR_1 168
#define PC_IP_ADDR_2 1
#define PC_IP_ADDR_3 100
[NOTE : If the steps are followed as described above, there’s no need to update any address as n8n would be hosted on prot 5678 itself.]
1. Build and Flash
  1. Build project in Debug configuration
  2. Flash firmware to EK-RA8D1 board

FRONTEND INTERFACE

1) Setup Instructions :
1. Save HTML File
  1. Save the provided frontendSHRAVYA.html to your local directory
  2. Ensure N8N is running on localhost:5678
2. Open in Browser
  1. Open HTML file in modern web browser
  2. Chrome/Firefox recommended for WebRTC voice features
3. Interface Components
Control Buttons:
  1. Start EEG Monitoring - Initiates data collection session
  2. Stop Monitoring - Ends current session
  3. Start Greeting - Test voice synthesis
  4. Listen to Command - Record voice command (5 seconds)
2. Test Buttons:
  1. Test Basic EEG - Sends sample EEG data for testing
  2. Test High Stress - Simulates high stress scenario
  3. Test Perfect Focus - Simulates optimal focus state
  4. Clear Log - Clears activity and response logs
3. Real-time Displays:
  1. Wellness Score (0-10 scale)
  2. Focus Level (real-time from EEG)
  3. Stress Level (real-time from EEG)
  4. Calm Level (real-time from EEG)
  5. Flow State (peak performance indicator)
  6. Connection Status (hardware connectivity)
  7. Sampling Rate (EEG acquisition rate)
Frontend Configuration
JavaScript Configuration (matches C code):
const CONFIG = {
   voiceWebhook: 'http://localhost:5678/webhook/shravya-voice',
   eegWebhook: 'http://localhost:5678/webhook/shravya-eeg-stream',
   updateInterval: 30000, // 30 seconds (matches C TRANSMISSION_INTERVAL_S)
   recordingDuration: 5000 // 5 seconds for voice commands
};
Testing Frontend Integration
1. Test Voice Commands
  1. Click "Start Greeting" - should hear SHRAVYA introduce herself
  2. Click "Listen to Command" - speak "user mode" - should get response
  3. Check browser console for any errors
2. Test EEG Data Flow
  1. Click "Start EEG Monitoring" - establishes session
  2. Click test buttons to send sample data
  3. Verify data appears in real-time displays
  4. Check N8N workflow execution logs
3. Monitor Activity Logs
  1. Activity Log shows system status and connections
  2. Response Log shows AI agent responses
  3. Audio player shows generated voice responses

TESTING & VALIDATION
System Integration Test
Test 1: End-to-End EEG Flow
1. Start N8N workflow
2. Open frontend interface
3. Click "Start EEG Monitoring"
4. Flash hardware with SHRAVYA firmware
5. Verify EEG data appears in frontend
6. Check MongoDB for stored sessions
7. Test AI agent responses
Test 2: Voice Command Processing
1. Click "Start Greeting" - verify TTS works
2. Click "Listen to Command" and say "user mode"
3. Verify voice recognition and AI response
4. Test different voice commands:
  1. "user mode" → switches to wellness companion
  2. "developer mode" → requires authentication
  3. General questions → conversational responses
Test 3: Multi-Agent System
1. Send EEG data with high stress (>7.0)
  1. Should trigger EEG Monitor agent
  2. Should provide wellness intervention
2. Send voice command "user mode"
  1. Should trigger Voice Command agent
  2. Should provide warm greeting
3. Send developer authentication
  1. Should trigger Developer agent
  2. Should provide technical assistance
PERFORMANCE VALIDATION

Latency Testing:
- EEG data processing: Target <100ms from MCU to N8N response
- Voice processing: Target <5-10 seconds from recording to TTS response (depending upon the voice command)
- AI agent routing: Target <2s decision time
Accuracy Testing:
- EEG cognitive states: Validate against known mental states
- Voice recognition: Test with different accents and background noise
- AI agent routing: Verify correct agent selection based on input

DEBUG MODE

Enable Detailed Logging:
1. In N8N workflow, enable "Execute Once" on debug nodes
2. Check N8N execution logs for detailed error messages
3. Enable UART debug output in firmware:
Log Analysis:
- N8N logs: Check workflow execution tab for node-by-node status
- Browser logs: Open Developer Tools → Console for frontend errors
- Hardware logs: Monitor UART output for MCU debug messages

N8N Workflow Optimization:
- Enable workflow caching for frequently accessed data
- Implement connection pooling for database operations
- Use async processing for non-critical operations
- Optimize memory usage with buffer limits

SECURITY CONSIDERATIONS

API Security:
- Rotate API keys regularly
- Implement rate limiting
- Use environment variables for secrets
- Enable/Disable CORS restrictions according to your requirement
Network Security:
- Use HTTPS for all external communications
- Implement VPN for hardware connections
- Firewall configuration for restricted access
- Regular security updates

CONCLUSION

This documentation provides a comprehensive guide for setting up and configuring the SHRAVYA cognitive AI assistant system. The integration of real-time EEG processing, intelligent AI agents, and cloud-based workflow automation creates a powerful platform for cognitive wellness monitoring and intervention.
For additional support:
- Check the GitHub repository for code updates
- Review N8N community documentation
- Contact – E-mail : rishiraj.mitblr2022@learner.manipal.edu
The SHRAVYA system represents a significant advancement in wearable cognitive monitoring technology, combining edge AI processing with cloud intelligence to provide real-time insights and interventions for optimal brain health and performance.